## About
BTC BAU Transmission Capacity | North Carolina
Source: | National Renewable Energy Laboratory
2012
Renewable Energy Futures Study: Volume 1
http://www.nrel.gov/docs/fy12osti/52409-1.pdf
Page 3-14, Figure 3-8
Source: | HIFLD Open Data Electric Power Transmission Lines
2020
https://hifld-geoplatform.opendata.arcgis.com/datasets/electric-power-transmission-lines
Analysis done by RMI calculations
Notes
HIFLD provides the shape files of transmission lines across the continental US with voltage
A large number of lines have no rated voltage on the HIFLD database; we calculated the median voltage and applied that
to all unknown lines (122 V). For all lines with a range of possible numbers (ie 100-161 V), we used the average (130.5V).
Overall, we calculated the kV*miles and total miles for each state (results in HIFLD output tab). We then used this state level data to downscale national transmission data

## HIFLD Outputs
Ranking by kvolt*miles | State | Abb | kVolt Miles | Miles | Fraction kV*miles / total
1 | Texas | TX | 12422854.1115 | 66809.8419
2 | California | CA | 10672018.0633 | 51067.879
3 | Oregon | OR | 5571798.9625 | 20876.7806
4 | Washington | WA | 5407549.7071 | 24875.4621
5 | Ohio | OH | 4601291.7778 | 21215.9972
6 | Nevada | NV | 4475926.362 | 12414.9224
7 | Indiana | IN | 4333497.1359 | 19235.6879
8 | Arizona | AZ | 4161224.3382 | 15442.246
9 | Florida | FL | 3803657.718 | 21123.4607
10 | Georgia | GA | 3764607.6233 | 19550.8655
11 | New York | NY | 3642095.8985 | 22575.5921
12 | Minnesota | MN | 3603526.7277 | 20544.8683
13 | Illinois | IL | 3574981.8313 | 17204.5778
14 | North Dakota | ND | 3449788.8087 | 21787.6161
15 | Pennsylvania | PA | 3448721.0722 | 16392.6316
16 | Michigan | MI | 3432781.5974 | 18572.9119
17 | North Carolina | NC | 3384204.1882 | 20055.3332
18 | Oklahoma | OK | 3376193.7675 | 20772.0321
19 | Virginia | VA | 3234315.4391 | 13599.3977
20 | Tennessee | TN | 3174876.9977 | 16305.038
21 | Montana | MT | 3143481.9686 | 20456.8176
22 | Colorado | CO | 3130636.2532 | 18596.379
23 | Alabama | AL | 3053410.7568 | 17647.0203
24 | Missouri | MO | 3000586.5036 | 18334.8156
25 | Utah | UT | 2845576.6065 | 14289.0343
26 | Idaho | ID | 2792375.1496 | 14823.2522
27 | Kentucky | KY | 2731526.3073 | 17556.0542
28 | West Virginia | WV | 2678698.4432 | 10787.9985
29 | South Carolina | SC | 2498948.3451 | 16041.8242
30 | Kansas | KS | 2421458.4219 | 13667.7971
31 | Wisconsin | WI | 2404820.2784 | 17248.1312
32 | New Mexico | NM | 2378512.9078 | 11817.0164
33 | Nebraska | NE | 2322839.5769 | 12753.522
34 | Wyoming | WY | 2306013.4656 | 13615.7363
35 | South Dakota | SD | 2246414.6806 | 13231.1921
36 | Mississippi | MS | 2164216.9809 | 11731.9855
37 | Arkansas | AR | 2059792.1957 | 11571.5393
38 | Iowa | IA | 1987989.8464 | 11082.8324
39 | Louisiana | LA | 1954175.4088 | 10843.9383
40 | Maryland | MD | 1216649.504 | 5859.2601
41 | New Jersey | NJ | 1056553.2099 | 4148.372
42 | Massachusetts | MA | 942458.3732 | 5222.9083
43 | Maine | ME | 734512.9691 | 4294.7116
44 | New Hampshire | NH | 577792.2435 | 2684.0414
45 | Alaska | AK | 492649.3818 | 3653.977
46 | Connecticut | CT | 440233.4833 | 2559.127
47 | Vermont | VT | 350970.5869 | 2220.807
48 | Delaware | DE | 227548 | 1177.9693
49 | Rhode Island | RI | 109707.6938 | 632.5962
50 | Hawaii | HI | 67983.2526 | 773.5039
Total

## Data National
BAU transmission capacity in 2010 is given in the figure caption as
150-200 million MW*miles. The graph shows the additional quantity
of transmission being built in the "baseline" scenario, which extends
to 2050 in the RE Futures Report. We assume the growth is linear
and interpolate.
Unfortunately, data are only available as a graph (not in numbers), so
we must estimate by measuring pixels on the graph.
2010 Transmission (low estimate): |  | MW*miles
2010 Transmission (high estimate): |  | MW*miles
2010 Transmission: |  | MW*miles
BAU New Transmission
Pixels per 50 million MW*miles: | 141 | pixels
Pixel height of new transmission: | 15 | pixels
New transmission quantity in 2050 |  | MW*miles
National Data
| 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
BAU Transmission Capacity (MW*miles)
State

## BTC
| 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
BAU Transmission Capacity (MW*miles)